FACILITY SAFETY INSPECTION

BUILDING					DATE			      INSPECTOR

GENERAL FACILITY EVALUATION

EXCELLENT    ABOVE AVG.      AVERAGE        FAIR        POOR

A. HOUSEKEEPING/ORDER			_________    _________       _________    ________    ________

B. FIRE PROTECTION/CONTROL		_________    _________       _________    ________    ________

C. LIFE SAFETY				_________    _________       _________    ________    ________

D. MECHANICAL/ELECTRICAL		_________    _________       _________    ________    ________

E. ACCIDENT PREVENTION			_________    _________       _________    ________    ________

A. HOUSEKEEPING/ORDER

YES	NO  COMMENT

1. Is combustible waste removed efficiently?				[]	[]  ____________

2. Are walkways kept free of obstructions, oil and standing water?				[]	[]  ____________

3. Are the following areas kept free of rubbish, waste paper, old furniture, misc. storage?				[]	[]  ____________

a) Basement, utility, boiler, and janitorial rooms				[]	[]  ____________

b) Elevator control room, and pits				[]	[]  ____________

c) Kitchens				[]	[]  ____________

d) Offices and public areas				[]	[]  ____________

e) Loading dock				[]	[]  ____________

4. Oily and solvent rags kept in appropriate metal receptacles				[]	[]  ____________

5. All closets free of oily mops and misc. flammable material				[]	[]  ____________

B. FIRE PROTECTION AND CONTROL

1.  Fire alarm pull stations unclogged and accessible				[]	[]  ____________

2.  Smoke detectors operational				[]	[]  ____________

3.  All control panels operational				[]	[]  ____________

4.  Doors to alarm control panels, sprinkler valves locked				[]	[]  ____________

5.  Sprinkler system fully pressurized				[]	[]  ____________

6.  Sprinkler main control valve secured in the open position				[]	[]  ____________

7.  Sprinkler heads free of obstruction by high piled storage, partition, or lights				[]	[]  ____________

8.  Any fire department connections/post indicator valves accessible, free from defects, and visible			[]	[]  ____________

9.  Stairwell standpipe fire department connections in closed position, tightly capped, 				[]	[]  ____________

and appropriately safety wired

10.  In standpipe hose closets:

a) Hoses dry and in good condition				[]	[]  ____________

b) Nozzles on tight and in the closed position				[]	[]  ____________

c) Door handles tight and operable				[]	[]  ____________

11.  Any special portable fire extinguishing systems properly charged and powered?				[]	[]  ____________

12.  All portable fire extinguishers fully charged, accessible, and tagged with the inspection record.			[]	[]  ____________

13.  Flammable liquids:				[]	[]  ____________

a) Identified and carry appropriate warning labels				[]	[]  ____________

b) Dispensed from approved safety cans or drums				[]	[]  ____________

c) Stored in areas that are not confined, and away from electrical motors and other ignition sources		[]	[]  ____________

14.  All building's lightning rod system components in order				[]	[]  ____________

C. LIFE SAFETY

1.  All exit lamps on, and glass intact.				[]	[]  ____________

2.  Exit ways (corridors, ramps, stairwells) free and unobstructed from all parts of the building.				[]	[]  ____________

3.  All emergency lighting systems operable.				[]	[]  ____________

4.  Fire doors free from any blockage or obstruction? (wedges)				[]	[]  ____________

5.  All hardware apparatus (holdbacks, coordinating hardware, special signage) in working order?			[]	[]  ____________

6.  All stairwell or other fire doors automatically close tightly				[]	[]  ____________

D. MECHANICAL/ELECTRICAL

1.  All exposed motors kept clean, and adequately ventilated to reduce overheating.				[]	[]  ____________

2.  HVAC filters sufficiently clean to assure good ventilation.				[]	[]  ____________

3.  Exposed belts, pulleys and other rotating machinery parts properly segregated and guarded.			[]	[]  ____________

4.  On use and storage of compressed gas cylinders:				[]	[]  ____________

a) Cylinders secured to prevent falling				[]	[]  ____________

b) Oxygen separated from flammable gas by at least 20 ft. or a fire wall				[]	[]  ____________

c) Safety caps in place when cylinders are not in use				[]	[]  ____________

d) Contents clearly identified on each cylinder				[]	[]  ____________

5.  All guard rails in good repair.				[]	[]  ____________

6.  Doors to all utility rooms locked at all times.				[]	[]  ____________

7.  Work spaces around electrical boxes, circuit breakers and control panels clear and  accessible.			[]	[]  ____________

8.  Overloading of electrical circuits with octopus-type extensions avoided.				[]	[]  ____________

9.  Extension cords protected from damage (no cords under rugs, or wedged by furniture, pinched by doors,		[]      	[]  ____________

or near heat sources).

10.  All wall receptacles and switches covered with plates.				[]	[]  ____________

11.  Microwave ovens free from any  microwave radiation leakage.				[]	[]  ____________

E. ACCIDENT PREVENTION

1.  Walkways kept free of obstructions, oil, and standing water				[]	[]  ____________

2.  Adequate lighting in undercover areas (parking decks, work areas)				[]	[]  ____________

3.  Handrails and treads secure on ramps and stairways				[]	[]  ____________

4.  "NO SMOKING" areas prominently posted with appropriate safety signage				[]	[]  ____________

5.  All first aid kits fully stocked, kept clean, and mounted in readily visible locations				[]	[]  ____________

6.  Personal protective equipment supplied, maintained in a sanitary condition and used where necessary 		[]	[]  ____________

(gloves, safety glasses)

7.  Major first aid equipment (gas masks, wheelchairs, stretchers) in their proper place and maintained			[]	[]  ____________

8.  All potentially injurious substances clearly labeled with precautionary (Danger, Warning, Poison) information		[]	[]  ____________

COMMENTS

__________________________________________________________________________________________________________________

__________________________________________________________________________________________________________________

__________________________________________________________________________________________________________________

__________________________________________________________________________________________________________________